## overview
Calculated (HH) curves | pH range | formula | mw | pKa | (ΔpKa/oC) | pH on dissolving | stock concentration (M) | g/100ml | Low pH stock | Notes | High pH stock | Notes | Desired pH | R1 | R2 | R3 | A1 | A2 | B1 | B2 | Low pH fraction | High pH fraction | Comments
ADA | 5.62 - 7.62 | C6H10N2O5 | 190.16 | 6.62 | -0.11 | 5-6 | 0.5 | 9.508 | 5.5 | Use NaOH | 7.5 | Use NaOH | 6.5 | 0.075858 | 7.5858 | 0.75858 | 0.92949 | 0.11647 | 0.070509 | 0.88353 | 0.55616 | 0.44384 | N-(2-Acetamido)iminoacetic acid | ADA
Bicine | 7.35 - 9.35 | C6H13NO4 | 163.17 | 8.35 | -0.018 | 5-6 | 1 | 16.317 | 7.3 | Use NaOH | 9.3 | Use NaOH | 9 | 0.089125 | 8.9125 | 4.4668 | 0.91817 | 0.10088 | 0.081832 | 0.89912 | 0.10038 | 0.89962 | Binds Mg2+ weakly, Ca2+ and Mn2+ moderately and Cu2+ very strongly. | Bicine
Bis-Tris | 5.46 - 7.46 | C8H19NO5 | 209.24 | 6.46 | -0.008 | 9.2 | 1 | 20.924 | 5.5 | Use HCl | 7.5 | Use HCl | 5.5 | 0.10965 | 10.9648 | 0.10965 | 0.90119 | 0.083579 | 0.098813 | 0.91642 | 1 | 0 |  | Bis-Tris
Bis-tris Propane (pKa1) | 5.8 - 7.8 | C11H26N2O6 | 282.33 | 6.8 |  | 11ish | 1 | 28.233 | 6 | Use HCl | 8 | Use HCl | 6.5 | 0.15849 | 15.8489 | 0.50119 | 0.86319 | 0.059351 | 0.13681 | 0.94065 | 0.75486 | 0.24514 |  | Bis-tris Propane (pKa1)
Bis-tris Propane (pKa2) | 8 - 10 | C11H26N2O6 | 282.33 | 9 |  | 11ish | 1 | 28.233 | 8 | Use HCl | 10 | Use HCl | 9 | 0.1 | 10 | 1 | 0.90909 | 0.090909 | 0.090909 | 0.90909 | 0.5 | 0.5 |  | Bis-tris Propane (pKa2)
CAPS | 9.4 - 11.4 | C9H19NO3S | 221.32 | 10.4 | -0.021 | 5.7 | 0.5 | 11.066 | 9.4 | use NaOH | 11.4 | Use NaOH | 10.5 | 0.1 | 10 | 1.2589 | 0.90909 | 0.090909 | 0.090909 | 0.90909 | 0.42995 | 0.57005 |  | CAPS
CHES | 8.3 - 10.3 | C8H17NO3S | 207.29 | 9.3 | -0.011 | 5.5 (?) | 1 | 20.729 | 8.5 | use NaOH | 10 | Use NaOH | 9.5 | 0.15849 | 5.0119 | 1.5849 | 0.86319 | 0.16634 | 0.13681 | 0.83366 | 0.31646 | 0.68354 |  | CHES
Glycine | 8.6 - 10.6 | C2H5NO2 | 75.07 | 9.6 | -0.025 | 5.5 | 1 | 7.507 | 8.5 | use NaOH | 10.5 | Use NaOH | 9.5 | 0.079433 | 7.9433 | 0.79433 | 0.92641 | 0.11182 | 0.073588 | 0.88818 | 0.54689 | 0.45311
GlyGly | 7.5-8.9 | C4H8N2O3 | 132.12 | 8.3 |  | 5.5 | 1 | 13.212 | 7.3 | Use NaOH | 9.3 | Use NaOH | 8.5 | 0.1 | 10 | 1.5849 | 0.90909 | 0.090909 | 0.090909 | 0.90909 | 0.36172 | 0.63828
HEPES | 6.55 - 8.55 | C8H18N2O4S | 238.3 | 7.55 | -0.014 | 5.2 | 1 | 23.83 | 6.8 | Use NaOH | 8.2 | Use NaOH | 7.5 | 0.17783 | 4.4668 | 0.89125 | 0.84902 | 0.18292 | 0.15098 | 0.81708 | 0.51919 | 0.48081 | Doesn't bind Mg2+, Ca2+, Mn2+ or Cu2+. Folin protein assay can't be done in HEPES. Biuret protein assay is used instead. | HEPES
Imidazole | 6.05 - 8.05 | C3H4N2 | 68.08 | 7.05 | -0.017 | 9.7 | 1 | 6.808 | 6.1 | Use HCl | 8.1 | Use HCl | 6.5 | 0.1122 | 11.2202 | 0.28184 | 0.89912 | 0.081832 | 0.10088 | 0.91817 | 0.85441 | 0.14559 |  | Imidazole
MES | 5.15 - 7.15 | C6H13NO4S | 195.24 | 6.15 | -0.011 | 3.2 | 0.5 | 9.762 | 5.2 | Use NaOH | 7.2 | Use NaOH | 7 | 0.1122 | 11.2202 | 7.0795 | 0.89912 | 0.081832 | 0.10088 | 0.91817 | 0.051315 | 0.94869 | Very little tendency to bind metal ions. Does not interfere with Folin protein assay. Undergo a certain degradation when autoclaved with glucose | MES
MOPS | 6.2-8.2 | C7H15NO4S | 209.26 | 7.14 | -0.011 | 3 ish | 0.5 | 10.463 | 6.2 | Use NaOH | 8.2 | Use NaOH | 6.9 | 0.11482 | 11.4815 | 0.57544 | 0.89701 | 0.080118 | 0.10299 | 0.91988 | 0.67895 | 0.32105
Piperazine (pKa1) | 4.7-6.6 | C4H10N2 | 86.14 | 5.4 | -0.015 | 9 ish | 1 | 8.614 | 4.4 | Use HCl | 6.4 | Use HCl | 5.5 | 0.1 | 10 | 1.2589 | 0.90909 | 0.090909 | 0.090909 | 0.90909 | 0.42995 | 0.57005
Sodium acetate | 3.76 - 5.76 | C2H3NaO2 | 82.03 | 4.76 | 0.0002 | 7ish | 1 | 8.203 | 3.8 | Use acetic acid | 5.8 | use acetic acid | 4.6 | 0.10965 | 10.9648 | 0.69183 | 0.90119 | 0.083579 | 0.098813 | 0.91642 | 0.62071 | 0.37929 |  | Sodium acetate
Sodium Cacodylate | 5.27 - 7.27 | C2H6AsNaO2· 3H2O | 214.03 | 6.27 |  | 8ish | 1 | 21.403 | 5.3 | Use HCl | 7.3 | Use HCl | 6.5 | 0.10715 | 10.7152 | 1.6982 | 0.90322 | 0.085359 | 0.096782 | 0.91464 | 0.34878 | 0.65122 |  | Sodium Cacodylate
Sodium phosphate (NaH2PO4 / Na2HPO4) | 6.2 - 8.2 | H2NaO4P· 2H2O / HNa2O4P | 156.01/141.96 | 7.2 |  | 5ish or 8ish | 0.5 | 7.8 / 7.1 | 6.2 | Mix of the two | 8.2 | Mix of the two | 7.2 | 0.1 | 10 | 1 | 0.90909 | 0.090909 | 0.090909 | 0.90909 | 0.5 | 0.5 |  | Sodium phosphate
Tricine | 7.2 - 9.2 | C6H13NO5 | 179.17 | 8.2 | -0.021 | 5 ish | 1 | 17.917 | 7.2 | Use NaOH | 9.2 | Use NaOH | 7.6 | 0.1 | 10 | 0.25119 | 0.90909 | 0.090909 | 0.090909 | 0.90909 | 0.86574 | 0.13426 |  | Tris
Tris | 7.1 - 9.1 | C4H11NO3 | 121.14 | 8.1 | -0.031 | 11ish | 1 | 12.114 | 7 | Use HCl | 9 | Use HCl | 8 | 0.079433 | 7.9433 | 0.79433 | 0.92641 | 0.11182 | 0.073588 | 0.88818 | 0.54689 | 0.45311 |  | Tris
Sodium phosphate dibasic | 6.2 - 8.2 | HNa2O4P | 141.96 | 7.2 |  | 8ish | 0.5 | 7.098 | 6.5 | Use 1M NaH2PO4 | 8.5 | Use 1M NaH2PO4 | 7.5 | 0.19953 | 19.9526 | 1.9953 | 0.83366 | 0.047727 | 0.16634 | 0.95227 | 0.36407 | 0.63593 |  | Sodium phosphate dibasic
Potassium phosphate dibasic | 6.2 - 8.2 | HK2O4P· 3H2O | 228.22 | 7.2 |  | 9ish | 1 | 22.822 | 6.5 | Use 1M KH2PO4 | 8.5 | Use 1M KH2PO4 | 7.5 | 0.19953 | 19.9526 | 1.9953 | 0.83366 | 0.047727 | 0.16634 | 0.95227 | 0.36407 | 0.63593 |  | Potassium phosphate dibasic
Potassium phosphate monobasic | 6.2 - 8.2 | H2KO4P | 136.09 | 7.2 |  | 5ish | 1 | 13.609 | 6.5 | Use 1M K2HPO4 | 8.5 | Use 1M K2HPO4 | 7.5 | 0.19953 | 19.9526 | 1.9953 | 0.83366 | 0.047727 | 0.16634 | 0.95227 | 0.36407 | 0.63593 |  | Potassium phosphate monobasic
Calculated curves | pH range | formula | mw | pKa | (ΔpKa/oC) | pH on dissolving | stock concentration (M) | g/100ml | Low pH stock | Notes | High pH stock | Notes | Desired pH | R1 | R2 | R3 | A1 | A2 | B1 | B2 | Low pH fraction | High pH fraction
citric acid - HEPES - CHES | 4 - 10 | [7 empty] | 4 | CHC | 10 | CHC | 7 | [7 empty] | 0.50148 | 0.49852 |  | CHC
Malic acid - MES - Tris | 4 - 9 | [7 empty] | 4 | MMT | 9 | MMT | 7 | [7 empty] | 0.40898 | 0.59102 |  | MMT
Malonic acid - imidazole - borate | 4 - 10 | [7 empty] | 4 | MIB | 10 | MIB | 7 | [7 empty] | 0.49384 | 0.50616 |  | MIB
sodium acetate - ADA - bicine | 4 - 9 | [7 empty] | 4 | AAB | 9 | AAB | 7 | [7 empty] | 0.39978 | 0.60022 |  | AAB
Sodium propionate - sodium cacodylate - Bis-tris propane | 4 - 9.5 | [7 empty] | 4 | PCB | 9.5 | PCB | 7 | [7 empty] | 0.45253 | 0.54747 |  | PCB
Sodium tartrate - Bis-tris - Glycylglycine | 4 - 9 | [7 empty] | 4 | TGB | 9 | TBG | 7 | [7 empty] | 0.38782 | 0.61218 |  | TBG
succinic acid-sodium dihydrogen phosphate-glycine | 4 - 10 | [7 empty] | 4 | SPG | 10 | SPG | 7 | [7 empty] | 0.50153 | 0.49847 |  | SPG
Measured curves | pH range | formula | mw | pKa | (ΔpKa/oC) | pH on dissolving | stock concentration (M) | g/100ml | Low pH stock | Notes | High pH stock | Notes | Desired pH | R1 | R2 | R3 | A1 | A2 | B1 | B2 | Low pH fraction | High pH fraction
BICINE / Tris | 5.11 - 10.08 | C6H13NO4 / C4H11NO3 | 163.17 / 121.14 |  |  |  | 1 |  | 5.11 | Pure BICINE | 10.08 | Pure Tris | 7 | [7 empty] | 0.96 | 0.04
Bis-Tris Propane | 6 - 10 | C11H26N2O6 | 282.33 | 6.8, 9 |  | 11 ish | 1 | 28.23 | 6 | use HCl | 10 | use HCl | 7 | [7 empty] | 0.34 | 0.66 |  | Bis-tris propane
Citrate (citric acid) / Bis-Tris Propane | 2 - 10.8 | C6H5Na3O7· 2H2O / C11H26N2O6 |  |  |  |  | 1 |  | 1.97 | pure citric acid | 10.84 | pure BTP | 7 | [7 empty] | 0.78 | 0.22 |  | citrate-BTP
citrate / phosphate (citric acid / disodium hydrogen phosphate) | 2.2 - 9.3 | C6H8O7 / Na2HPO4 | 192.12 / 141.96 |  |  |  | 0.5 / 0.5 | 7.098 / 9.606 | 2.18 | pure citric acid | 9.27 | Pure Na2HPO4 | 7 | [7 empty] | 0.12 | 0.88 |  | Citrate-phosphate
citric acid / sodium citrate | 2.3 - 6 | C6H5Na3O7· 2H2O / Na3C6H5O7 | 294.1 | 3.06,4.74,5.4 |  | 2.2 or 8.10 | 1.0 / 1.0 | 19.212 / 25.807 | 2.18 | Citric Acid | 8.1 | pure trisodium citrate | 8 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.02 | 0.98 | Binds divalent metal ions - well behaved between pH2 and pH6 | Sodium citrate
Malate (malic acid) / Imidazole | 2 - 9.4 | C4O5H6 / C3H4N3 | 134.09 / 68.08 |  |  |  | 1 |  | 2 | pure malic acid | 9.4 | pure Imidazole | 7 | [7 empty] | 0.22 | 0.78 |  | Malate-imidazole
Maleic acid / Imidazole | 1.4 - 9.4 | C4O4H4 / C3H4N2 | 116.08 / 68.08 |  |  |  | 1 |  | 1.4 | pure maleic acid | 9.4 | pure Imidazole | 7 | [7 empty] | 0.22 | 0.78 |  | Maleate-imidazole
Maleic acid / trizma base | 1.4 - 9.4 | C4O4H4 / C4H11NO3 | 116.08 / 121.14 |  |  |  | 1 |  | 1.4 | pure maleic acid | 9.44 | pure trizma base | 7 | [7 empty] | 0.34 | 0.66 |  | Maleate-tris
Malonic acid / Imidazole | 2 - 9.4 | CH2(COOH)2 / C3H4N2 | 104.07 / 68.08 |  |  |  | 1 |  | 1.8 | pure malonic acid | 9.4 | pure Imidazole | 7 | [7 empty] | 0.22 | 0.78 |  | Malonate-imidazole
Malonic acid / Sodium malonate | 1.9 - 7.8 | CH2(COOH)2 / Na2C3H2O4 | 104.07 / 166.04 | 2.8, 5.7 |  |  | 1 |  | 1.8 | pure malonic acid | 7.8 | pure sodium malonate | 7 | [7 empty] | 0.02 | 0.98 |  | Sodium malonate
MES / Imidazole | 3.8-9 | [5 empty] | 1 |  | 3.81 | Pure MES | 9.52 | Pure Imidazole | 7 | [7 empty] | 0.42 | 0.58
MOPS / Sodium HEPES | 4.71 - 9.12 | C7H15NO4S / C3H4N2 | 209.2633 / 68.077 |  |  |  | 1 |  | 4.71 | Pure MOPS | 9.12 | Pure Sodium HEPES | 7 | [7 empty] | 0.66 | 0.34
Phosphate (XH2PO4 / X2HPO4 - use either Na or K or a mixture) | 4.7 - 9.3 | [5 empty] | 1 |  | 4.7 | dihydrogen phosphate | 9.3 | monohydrogen phosphate | 7 | [7 empty] | 0.38 | 0.62 |  | whichever PO4 pair
Tacsimate pH4 - pH8 | 4 - 7.5 | [5 empty] | 1 |  | 4 | tacsimate pH 4 | 7.5 | Tacsimate pH 8 | 6 | [7 empty] | 0.08 | 0.92 |  | Tacsimate

## MCB
% high pH | 2:7:7 Succinic, PO4, Glycine | 2:3:4 Citric, HEPES, CHES | 2:3:3 Malonic, Imidazol, Boric | 2:1:2 Propionate, Cacodylate, Bis-Tris Propane | 1:1:1 Acetate, ADA, Bicine | 1:2:2 Malic, MES, Tris | 3:2:2 Tartrate, Bis-Tris, GlycylGlycine
0 | 4 | 4 | 4 | 4 | 4 | 4 | 4
10 | 4.7 | 4.5 | 4.8 | 4.7 | 4.5 | 4.6 | 4.3
20 | 5.4 | 5.1 | 5.3 | 5.2 | 4.9 | 5.1 | 4.6
30 | 6.1 | 5.7 | 5.7 | 5.7 | 5.5 | 5.6 | 5.2
40 | 6.5 | 6.4 | 6.2 | 6.2 | 6.1 | 6 | 6.1
50 | 6.8 | 7.1 | 6.9 | 6.8 | 6.6 | 6.4 | 6.6
60 | 7.2 | 7.7 | 7.4 | 7.2 | 7 | 7 | 7
70 | 7.8 | 8.3 | 8.2 | 7.6 | 7.5 | 7.7 | 7.5
80 | 9 | 8.9 | 8.8 | 8.3 | 8 | 8.1 | 8
90 | 9.6 | 9.4 | 9.3 | 9 | 8.4 | 8.5 | 8.4
100 | 10 | 10 | 10 | 9.5 | 9 | 9 | 8.9

## Tris;BICINE
TOTAL VOLUME 1000ul
|  |  | Tris Base (ul) | BICINE (ul) | pH Value
|  |  | 100mN | 100mM
pH Value | % BICINE | % of Tris(base) |  |  | pH Value | % of Tris base
5.11 | 0 | 100 | 2000 | 0 | 10.08 | 100
6.68 | 2 | 98 | 1960 | 40 | 9.78 | 98
6.98 | 4 | 96 | 1920 | 80 | 9.57 | 96
7.17 | 6 | 94 | 1880 | 120 | 9.37 | 94
7.3 | 8 | 92 | 1840 | 160 | 9.27 | 92
7.38 | 10 | 90 | 1800 | 200 | 9.19 | 90
7.48 | 12 | 88 | 1760 | 240 | 9.12 | 88
7.55 | 14 | 86 | 1720 | 280 | 9.05 | 86
7.61 | 16 | 84 | 1680 | 320 | 8.99 | 84
7.67 | 18 | 82 | 1640 | 360 | 8.92 | 82
7.73 | 20 | 80 | 1600 | 400 | 8.87 | 80
7.77 | 22 | 78 | 1560 | 440 | 8.82 | 78
7.84 | 24 | 76 | 1520 | 480 | 8.78 | 76
7.86 | 26 | 74 | 1480 | 520 | 8.74 | 74
7.9 | 28 | 72 | 1440 | 560 | 8.7 | 72
7.95 | 30 | 70 | 1400 | 600 | 8.66 | 70
7.98 | 32 | 68 | 1360 | 640 | 8.62 | 68
8.03 | 34 | 66 | 1320 | 680 | 8.58 | 66
8.05 | 36 | 64 | 1280 | 720 | 8.54 | 64
8.09 | 38 | 62 | 1240 | 760 | 8.51 | 62
8.12 | 40 | 60 | 1200 | 800 | 8.48 | 60
8.16 | 42 | 58 | 1160 | 840 | 8.44 | 58
8.2 | 44 | 56 | 1120 | 880 | 8.41 | 56
8.23 | 46 | 54 | 1080 | 920 | 8.37 | 54
8.26 | 48 | 52 | 1040 | 960 | 8.33 | 52
8.3 | 50 | 50 | 1000 | 1000 | 8.3 | 50
8.33 | 52 | 48 | 960 | 1040 | 8.26 | 48
8.37 | 54 | 46 | 920 | 1080 | 8.23 | 46
8.41 | 56 | 44 | 880 | 1120 | 8.2 | 44
8.44 | 58 | 42 | 840 | 1160 | 8.16 | 42
8.48 | 60 | 40 | 800 | 1200 | 8.12 | 40
8.51 | 62 | 38 | 760 | 1240 | 8.09 | 38
8.54 | 64 | 36 | 720 | 1280 | 8.05 | 36
8.58 | 66 | 34 | 680 | 1320 | 8.03 | 34
8.62 | 68 | 32 | 640 | 1360 | 7.98 | 32
8.66 | 70 | 30 | 600 | 1400 | 7.95 | 30
8.7 | 72 | 28 | 560 | 1440 | 7.9 | 28
8.74 | 74 | 26 | 520 | 1480 | 7.86 | 26
8.78 | 76 | 24 | 480 | 1520 | 7.84 | 24
8.82 | 78 | 22 | 440 | 1560 | 7.77 | 22
8.87 | 80 | 20 | 400 | 1600 | 7.73 | 20
8.92 | 82 | 18 | 360 | 1640 | 7.67 | 18
8.99 | 84 | 16 | 320 | 1680 | 7.61 | 16
9.05 | 86 | 14 | 280 | 1720 | 7.55 | 14
9.12 | 88 | 12 | 240 | 1760 | 7.48 | 12
9.19 | 90 | 10 | 200 | 1800 | 7.38 | 10
9.27 | 92 | 8 | 160 | 1840 | 7.3 | 8
9.37 | 94 | 6 | 120 | 1880 | 7.17 | 6
9.57 | 96 | 4 | 80 | 1920 | 6.98 | 4
9.78 | 98 | 2 | 40 | 1960 | 6.68 | 2
10.08 | 100 | 0 | 0 | 2000 | 5.11 | 0
|  | Total | 51000 | 51000
Volume
Needed

## Bistrispropane
pH | Bis-Tris Propane pH 10 % | Bis-Tris Propane pH 6 %
6.12 | 0 | 100 | 1 | 6.12
6.24 | 2 | 98 | 2 | 6.2565
6.4 | 4 | 96 | 3 | 6.3713
6.52 | 6 | 94 | 4 | 6.4682
6.55 | 8 | 92 | 5 | 6.5509
6.59 | 10 | 90 | 6 | 6.6225
6.66 | 12 | 88 | 7 | 6.686
6.74 | 14 | 86 | 8 | 6.7439
6.79 | 16 | 84 | 9 | 6.7984
6.86 | 18 | 82 | 10 | 6.8512
6.92 | 20 | 80 | 11 | 6.9041
6.98 | 22 | 78 | 12 | 6.9584
7.03 | 24 | 76 | 13 | 7.015
7.09 | 26 | 74 | 14 | 7.0749
7.15 | 28 | 72 | 15 | 7.1386
7.21 | 30 | 70 | 16 | 7.2065
7.28 | 32 | 68 | 17 | 7.2789
7.34 | 34 | 66 | 18 | 7.3557
7.42 | 36 | 64 | 19 | 7.4369
7.48 | 38 | 62 | 20 | 7.5222
7.6 | 40 | 60 | 21 | 7.6113
7.69 | 42 | 58 | 22 | 7.7036
7.79 | 44 | 56 | 23 | 7.7986
7.89 | 46 | 54 | 24 | 7.8957
7.96 | 48 | 52 | 25 | 7.9943
8.08 | 50 | 50 | 26 | 8.0936
8.19 | 52 | 48 | 27 | 8.1928
8.34 | 54 | 46 | 28 | 8.2914
8.4 | 56 | 44 | 29 | 8.3885
8.48 | 58 | 42 | 30 | 8.4836
8.62 | 60 | 40 | 31 | 8.576
8.7 | 62 | 38 | 32 | 8.6652
8.77 | 64 | 36 | 33 | 8.7507
8.84 | 66 | 34 | 34 | 8.8322
8.89 | 68 | 32 | 35 | 8.9095
8.93 | 70 | 30 | 36 | 8.9825
9 | 72 | 28 | 37 | 9.0513
9.07 | 74 | 26 | 38 | 9.116
9.14 | 76 | 24 | 39 | 9.1773
9.21 | 78 | 22 | 40 | 9.2356
9.26 | 80 | 20 | 41 | 9.292
9.3 | 82 | 18 | 42 | 9.3474
9.38 | 84 | 16 | 43 | 9.4034
9.43 | 86 | 14 | 44 | 9.4615
9.49 | 88 | 12 | 45 | 9.5237
9.59 | 90 | 10 | 46 | 9.5923
9.68 | 92 | 8 | 47 | 9.6698
9.74 | 94 | 6 | 48 | 9.7593
9.82 | 96 | 4 | 49 | 9.8639
9.92 | 98 | 2 | 50 | 9.9875
10.06 | 100 | 0 | 51 | 10.134

## Cit_BTP
pH | BTP % | Citric acid %
1.97 | 0 | 100
2.13 | 2 | 98
2.17 | 4 | 96
2.24 | 6 | 94
2.35 | 8 | 92
2.41 | 10 | 90
2.48 | 12 | 88
2.55 | 14 | 86
2.62 | 16 | 84
2.7 | 18 | 82
2.79 | 20 | 80
2.88 | 22 | 78
2.96 | 24 | 76
3.06 | 26 | 74
3.16 | 28 | 72
3.27 | 30 | 70
3.41 | 32 | 68
3.52 | 34 | 66
3.68 | 36 | 64
3.82 | 38 | 62
3.93 | 40 | 60
4.12 | 42 | 58
4.25 | 44 | 56
4.44 | 46 | 54
4.61 | 48 | 52
4.85 | 50 | 50
5.06 | 52 | 48
5.27 | 54 | 46
5.51 | 56 | 44
5.79 | 58 | 42
6.13 | 60 | 40
6.44 | 62 | 38
6.71 | 64 | 36
6.95 | 66 | 34
7.17 | 68 | 32
7.39 | 70 | 30
7.64 | 72 | 28
7.9 | 74 | 26
8.18 | 76 | 24
8.42 | 78 | 22
8.62 | 80 | 20
8.83 | 82 | 18
8.98 | 84 | 16
9.13 | 86 | 14
9.25 | 88 | 12
9.39 | 90 | 10
9.59 | 92 | 8
9.75 | 94 | 6
9.95 | 96 | 4
10.23 | 98 | 2
10.84 | 100 | 0

## Cit_PO4
pH | Na2HPO4 % | citric Acid %
2.18 | 0 | 100
2.25 | 2 | 98
2.3 | 4 | 96
2.33 | 6 | 94
2.39 | 8 | 92
2.43 | 10 | 90
2.46 | 12 | 88
2.54 | 14 | 86
2.6 | 16 | 84
2.65 | 18 | 82
2.7 | 20 | 80
2.74 | 22 | 78
2.79 | 24 | 76
2.84 | 26 | 74
2.89 | 28 | 72
2.98 | 30 | 70
3.01 | 32 | 68
3.06 | 34 | 66
3.12 | 36 | 64
3.19 | 38 | 62
3.26 | 40 | 60
3.4 | 42 | 58
3.45 | 44 | 56
3.57 | 46 | 54
3.61 | 48 | 52
3.8 | 50 | 50
3.88 | 52 | 48
4 | 54 | 46
4.12 | 56 | 44
4.29 | 58 | 42
4.45 | 60 | 40
4.62 | 62 | 38
4.8 | 64 | 36
5 | 66 | 34
5.2 | 68 | 32
5.48 | 70 | 30
5.69 | 72 | 28
5.9 | 74 | 26
6.16 | 76 | 24
6.29 | 78 | 22
6.51 | 80 | 20
6.62 | 82 | 18
6.75 | 84 | 16
6.89 | 86 | 14
7 | 88 | 12
7.16 | 90 | 10
7.32 | 92 | 8
7.49 | 94 | 6
7.71 | 96 | 4
8.12 | 98 | 2
9.27 | 100 | 0

## Cit_NaCit
pH | Na3Citrate % | citric Acid % | pH | Na3Citrate % | citric Acid %
2.03 | 0 | 100 | 2.34 | 0 | 100
2.06 | 2 | 98 | 2.42 | 2 | 98
2.15 | 4 | 96 | 2.46 | 4 | 96
2.25 | 6 | 94 | 2.55 | 6 | 94
2.36 | 8 | 92 | 2.64 | 8 | 92
2.47 | 10 | 90 | 2.72 | 10 | 90
2.57 | 12 | 88 | 2.83 | 12 | 88
2.66 | 14 | 86 | 2.9 | 14 | 86
2.75 | 16 | 84 | 2.96 | 16 | 84
2.84 | 18 | 82 | 3.04 | 18 | 82
2.92 | 20 | 80 | 3.11 | 20 | 80
3.01 | 22 | 78 | 3.18 | 22 | 78
3.11 | 24 | 76 | 3.27 | 24 | 76
3.21 | 26 | 74 | 3.32 | 26 | 74
3.3 | 28 | 72 | 3.39 | 28 | 72
3.4 | 30 | 70 | 3.51 | 30 | 70
3.49 | 32 | 68 | 3.57 | 32 | 68
3.59 | 34 | 66 | 3.64 | 34 | 66
3.68 | 36 | 64 | 3.74 | 36 | 64
3.77 | 38 | 62 | 3.81 | 38 | 62
3.86 | 40 | 60 | 3.9 | 40 | 60
3.94 | 42 | 58 | 4 | 42 | 58
4.01 | 44 | 56 | 4.08 | 44 | 56
4.1 | 46 | 54 | 4.14 | 46 | 54
4.18 | 48 | 52 | 4.22 | 48 | 52
4.25 | 50 | 50 | 4.32 | 50 | 50
4.33 | 52 | 48 | 4.39 | 52 | 48
4.4 | 54 | 46 | 4.45 | 54 | 46
4.49 | 56 | 44 | 4.55 | 56 | 44
4.56 | 58 | 42 | 4.62 | 58 | 42
4.64 | 60 | 40 | 4.72 | 60 | 40
4.71 | 62 | 38 | 4.81 | 62 | 38
4.8 | 64 | 36 | 4.88 | 64 | 36
4.87 | 66 | 34 | 4.96 | 66 | 34
4.95 | 68 | 32 | 5.02 | 68 | 32
5.03 | 70 | 30 | 5.09 | 70 | 30
5.12 | 72 | 28 | 5.23 | 72 | 28
5.2 | 74 | 26 | 5.28 | 74 | 26
5.28 | 76 | 24 | 5.36 | 76 | 24
5.36 | 78 | 22 | 5.45 | 78 | 22
5.46 | 80 | 20 | 5.55 | 80 | 20
5.54 | 82 | 18 | 5.62 | 82 | 18
5.63 | 84 | 16 | 5.71 | 84 | 16
5.72 | 86 | 14 | 5.82 | 86 | 14
5.82 | 88 | 12 | 5.9 | 88 | 12
5.93 | 90 | 10 | 6 | 90 | 10
6.04 | 92 | 8 |  | 92 | 8
6.2 | 94 | 6 |  | 94 | 6
6.39 | 96 | 4 |  | 96 | 4
6.68 | 98 | 2 |  | 98 | 2
8.39 | 100 | 0 |  | 100 | 0
4.0381

## Malate-Imidazole
resultant pH | % imidazole | % malic acid
2.03 | 0 | 100
2.04 | 2 | 98 | 1.94 | 0
2.08 | 4 | 96 | 2.2 | 5
2.15 | 6 | 94 | 2.43 | 10
2.21 | 8 | 92 | 2.61 | 15
2.3 | 10 | 90 | 2.83 | 20
2.36 | 12 | 88 | 2.99 | 25
2.43 | 14 | 86 | 3.15 | 30
2.49 | 16 | 84 | 3.32 | 35
2.56 | 18 | 82 | 3.48 | 40
2.63 | 20 | 80 | 3.71 | 45
2.71 | 22 | 78 | 3.95 | 50
2.77 | 24 | 76 | 4.25 | 55
2.86 | 26 | 74 | 4.65 | 60
2.91 | 28 | 72 | 5.22 | 65
2.98 | 30 | 70 | 6.35 | 70
3.03 | 32 | 68 | 6.87 | 75
3.12 | 34 | 66 | 7.27 | 80
3.2 | 36 | 64 | 7.52 | 85
3.26 | 38 | 62 | 7.78 | 90
3.35 | 40 | 60 | 8.12 | 95
3.44 | 42 | 58 | 10.04 | 100
3.55 | 44 | 56
3.65 | 46 | 54
3.75 | 48 | 52
3.88 | 50 | 50
4.03 | 52 | 48
4.16 | 54 | 46
4.32 | 56 | 44
4.48 | 58 | 42
4.67 | 60 | 40
4.88 | 62 | 38
5.17 | 64 | 36
5.6 | 66 | 34
5.99 | 68 | 32
6.32 | 70 | 30
6.52 | 72 | 28
6.69 | 74 | 26
6.81 | 76 | 24
6.93 | 78 | 22
7.04 | 80 | 20
7.14 | 82 | 18
7.25 | 84 | 16
7.37 | 86 | 14
7.47 | 88 | 12
7.6 | 90 | 10
7.7 | 92 | 8
7.87 | 94 | 6
8.05 | 96 | 4
8.36 | 98 | 2
9.4 | 100 | 0

## Maleic Imidazole
pH | Imidazole % | Maleic acid %
1.42 | 0 | 100
1.44 | 2 | 98
1.46 | 4 | 96
1.43 | 6 | 94
1.47 | 8 | 92
1.49 | 10 | 90
1.44 | 12 | 88
1.54 | 14 | 86
1.57 | 16 | 84
1.6 | 18 | 82
1.64 | 20 | 80
1.66 | 22 | 78
1.7 | 24 | 76
1.73 | 26 | 74
1.77 | 28 | 72
1.81 | 30 | 70
1.86 | 32 | 68
1.91 | 34 | 66
2.01 | 36 | 64
2.07 | 38 | 62
2.17 | 40 | 60
2.26 | 42 | 58
2.38 | 44 | 56
2.58 | 46 | 54
2.93 | 48 | 52
4.09 | 50 | 50
4.86 | 52 | 48
5.2 | 54 | 46
5.44 | 56 | 44
5.64 | 58 | 42
5.8 | 60 | 40
5.97 | 62 | 38
6.11 | 64 | 36
6.26 | 66 | 34
6.4 | 68 | 32
6.54 | 70 | 30
6.68 | 72 | 28
6.8 | 74 | 26
6.9 | 76 | 24
7 | 78 | 22
7.1 | 80 | 20
7.2 | 82 | 18
7.29 | 84 | 16
7.4 | 86 | 14
7.49 | 88 | 12
7.62 | 90 | 10
7.79 | 92 | 8
7.87 | 94 | 6
8.06 | 96 | 4
8.26 | 98 | 2
9.4 | 100 | 0

## Maleic Trizma
pH | Trizma % | Maleic acid %
1.46 | 0 | 100
1.41 | 2 | 98
1.44 | 4 | 96
1.46 | 6 | 94
1.47 | 8 | 92
1.48 | 10 | 90
1.49 | 12 | 88
1.51 | 14 | 86
1.55 | 16 | 84
1.58 | 18 | 82
1.62 | 20 | 80
1.65 | 22 | 78
1.68 | 24 | 76
1.71 | 26 | 74
1.75 | 28 | 72
1.8 | 30 | 70
1.85 | 32 | 68
1.92 | 34 | 66
1.97 | 36 | 64
2.02 | 38 | 62
2.15 | 40 | 60
2.22 | 42 | 58
2.4 | 44 | 56
2.53 | 46 | 54
2.77 | 48 | 52
3.08 | 50 | 50
4.69 | 52 | 48
5.12 | 54 | 46
5.38 | 56 | 44
5.62 | 58 | 42
5.84 | 60 | 40
6.06 | 62 | 38
6.3 | 64 | 36
6.66 | 66 | 34
7.06 | 68 | 32
7.4 | 70 | 30
7.62 | 72 | 28
7.8 | 74 | 26
7.96 | 76 | 24
8.08 | 78 | 22
8.2 | 80 | 20
8.27 | 82 | 18
8.39 | 84 | 16
8.49 | 86 | 14
8.59 | 88 | 12
8.69 | 90 | 10
8.8 | 92 | 8
8.92 | 94 | 6
9.06 | 96 | 4
9.22 | 98 | 2
9.44 | 100 | 0

## Malonate-Imidazole
resultant pH | % imidazole | % malonic acid | 2:1 [imidazole]:[malonic acid]?
1.9 | 0 | 100 | 1.96
1.9 | 2 | 98 | 2
1.92 | 4 | 96 | 2
1.94 | 6 | 94 | 2.03
1.97 | 8 | 92 | 2.06
1.99 | 10 | 90 | 2.12
2.04 | 12 | 88 | 2.19
2.08 | 14 | 86 | 2.25
2.12 | 16 | 84 | 2.34
2.17 | 18 | 82 | 2.43
2.21 | 20 | 80 | 2.52
2.26 | 22 | 78 | 2.63
2.32 | 24 | 76 | 2.77
2.38 | 26 | 74 | 2.92
2.44 | 28 | 72 | 3.12
2.51 | 30 | 70 | 3.38
2.57 | 32 | 68 | 3.75
2.64 | 34 | 66 | 4.19
2.73 | 36 | 64 | 4.52
2.83 | 38 | 62 | 4.75
2.93 | 40 | 60 | 5
3.06 | 42 | 58 | 5.19
3.21 | 44 | 56 | 5.38
3.44 | 46 | 54 | 5.59
3.75 | 48 | 52 | 5.83
4.15 | 50 | 50 | 6.07
4.47 | 52 | 48 | 6.28
4.72 | 54 | 46 | 6.45
4.94 | 56 | 44 | 6.58
5.14 | 58 | 42 | 6.7
5.33 | 60 | 40 | 6.8
5.55 | 62 | 38 | 6.9
5.77 | 64 | 36 | 6.98
6.01 | 66 | 34 | 7.05
6.24 | 68 | 32 | 7.13
6.44 | 70 | 30 | 7.2
6.6 | 72 | 28 | 7.27
6.75 | 74 | 26 | 7.34
6.86 | 76 | 24 | 7.41
6.98 | 78 | 22 | 7.46
7.09 | 80 | 20 | 7.53
7.19 | 82 | 18 | 7.62
7.29 | 84 | 16 | 7.69
7.39 | 86 | 14 | 7.77
7.49 | 88 | 12 | 7.86
7.61 | 90 | 10 | 7.95
7.73 | 92 | 8 | 8.07
7.88 | 94 | 6 | 8.19
8.09 | 96 | 4 | 8.37
8.36 | 98 | 2 | 8.66
9.51 | 100 | 0 | 9.34

## Malonic acid-sodium malonate
resultant pH | % sodium malonate | % malonic acid
1.8 | 0 | 100
1.85 | 2 | 98
1.91 | 4 | 96
1.98 | 6 | 94
2.04 | 8 | 92
2.08 | 10 | 90
2.16 | 12 | 88
2.22 | 14 | 86
2.28 | 16 | 84
2.34 | 18 | 82
2.4 | 20 | 80
2.48 | 22 | 78
2.54 | 24 | 76
2.6 | 26 | 74
2.65 | 28 | 72
2.74 | 30 | 70
2.81 | 32 | 68
2.87 | 34 | 66
2.96 | 36 | 64
3.03 | 38 | 62
3.13 | 40 | 60
3.24 | 42 | 58
3.35 | 44 | 56
3.49 | 46 | 54
3.66 | 48 | 52
3.85 | 50 | 50
4.03 | 52 | 48
4.19 | 54 | 46
4.34 | 56 | 44
4.47 | 58 | 42
4.57 | 60 | 40
4.67 | 62 | 38
4.74 | 64 | 36
4.82 | 66 | 34
4.89 | 68 | 32
4.96 | 70 | 30
5.03 | 72 | 28
5.1 | 74 | 26
5.16 | 76 | 24
5.25 | 78 | 22
5.34 | 80 | 20
5.42 | 82 | 18
5.49 | 84 | 16
5.59 | 86 | 14
5.69 | 88 | 12
5.79 | 90 | 10
5.92 | 92 | 8
6.09 | 94 | 6
6.29 | 96 | 4
6.42 | 98 | 2
7.8 | 100 | 0

## Imidazole_MES_Monohydrate
Data Columns for VLOOKUP |  | TOTAL VOLUME 1000ul
|  |  | imidazole (ul) | MES Monohydrate (ul)
|  |  | 100mN | 100mM
pH Value | % of MES | % of Imidazole | pH 9 | pH5 | pH Value | % of Imidazole
3.81 | 0 | 100 | 2000 | 0 | 9.52 | 100
4.59 | 2 | 98 | 1960 | 40 | 8.99 | 98
4.88 | 4 | 96 | 1920 | 80 | 8.55 | 96
5.08 | 6 | 94 | 1880 | 120 | 8.42 | 94
5.21 | 8 | 92 | 1840 | 160 | 8.28 | 92
5.31 | 10 | 90 | 1800 | 200 | 8.12 | 90
5.42 | 12 | 88 | 1760 | 240 | 8 | 88
5.5 | 14 | 86 | 1720 | 280 | 7.93 | 86
5.58 | 16 | 84 | 1680 | 320 | 7.82 | 84
5.65 | 18 | 82 | 1640 | 360 | 7.75 | 82
5.73 | 20 | 80 | 1600 | 400 | 7.69 | 80
5.78 | 22 | 78 | 1560 | 440 | 7.62 | 78
5.85 | 24 | 76 | 1520 | 480 | 7.56 | 76
5.91 | 26 | 74 | 1480 | 520 | 7.49 | 74
5.97 | 28 | 72 | 1440 | 560 | 7.44 | 72
6.05 | 30 | 70 | 1400 | 600 | 7.38 | 70
6.11 | 32 | 68 | 1360 | 640 | 7.32 | 68
6.19 | 34 | 66 | 1320 | 680 | 7.27 | 66
6.22 | 36 | 64 | 1280 | 720 | 7.2 | 64
6.29 | 38 | 62 | 1240 | 760 | 7.13 | 62
6.37 | 40 | 60 | 1200 | 800 | 7.07 | 60
6.43 | 42 | 58 | 1160 | 840 | 7 | 58
6.5 | 44 | 56 | 1120 | 880 | 6.96 | 56
6.59 | 46 | 54 | 1080 | 920 | 6.89 | 54
6.66 | 48 | 52 | 1040 | 960 | 6.8 | 52
6.73 | 50 | 50 | 1000 | 1000 | 6.73 | 50
6.8 | 52 | 48 | 960 | 1040 | 6.66 | 48
6.89 | 54 | 46 | 920 | 1080 | 6.59 | 46
6.96 | 56 | 44 | 880 | 1120 | 6.5 | 44
7 | 58 | 42 | 840 | 1160 | 6.43 | 42
7.07 | 60 | 40 | 800 | 1200 | 6.37 | 40
7.13 | 62 | 38 | 760 | 1240 | 6.29 | 38
7.2 | 64 | 36 | 720 | 1280 | 6.22 | 36
7.27 | 66 | 34 | 680 | 1320 | 6.19 | 34
7.32 | 68 | 32 | 640 | 1360 | 6.11 | 32
7.38 | 70 | 30 | 600 | 1400 | 6.05 | 30
7.44 | 72 | 28 | 560 | 1440 | 5.97 | 28
7.49 | 74 | 26 | 520 | 1480 | 5.91 | 26
7.56 | 76 | 24 | 480 | 1520 | 5.85 | 24
7.62 | 78 | 22 | 440 | 1560 | 5.78 | 22
7.69 | 80 | 20 | 400 | 1600 | 5.73 | 20
7.75 | 82 | 18 | 360 | 1640 | 5.65 | 18
7.82 | 84 | 16 | 320 | 1680 | 5.58 | 16
7.93 | 86 | 14 | 280 | 1720 | 5.5 | 14
8 | 88 | 12 | 240 | 1760 | 5.42 | 12
8.12 | 90 | 10 | 200 | 1800 | 5.31 | 10
8.28 | 92 | 8 | 160 | 1840 | 5.21 | 8
8.42 | 94 | 6 | 120 | 1880 | 5.08 | 6
8.55 | 96 | 4 | 80 | 1920 | 4.88 | 4
8.99 | 98 | 2 | 40 | 1960 | 4.59 | 2
9.52 | 100 | 0 | 0 | 2000 | 3.81 | 0
|  | Total | 51000 | 51000
Volume
Needed

## Sodium HEPES;MOPS
TOTAL VOLUME 1000ul
|  |  | Sodium HEPES (ul) | MOPS Acid (ul) | pH Value
|  |  | 100mN | 100mM
pH Value | % MOPS | % of Na-Hepes |  |  | pH Value | % of Na-HEPES
4.71 | 0 | 100 | 2000 | 0 | 9.12 | 100
5.49 | 2 | 98 | 1960 | 40 | 8.89 | 98
5.79 | 4 | 96 | 1920 | 80 | 8.73 | 96
6 | 6 | 94 | 1880 | 120 | 8.6 | 94
6.11 | 8 | 92 | 1840 | 160 | 8.47 | 92
6.21 | 10 | 90 | 1800 | 200 | 8.4 | 90
6.31 | 12 | 88 | 1760 | 240 | 8.29 | 88
6.41 | 14 | 86 | 1720 | 280 | 8.23 | 86
6.48 | 16 | 84 | 1680 | 320 | 8.18 | 84
6.54 | 18 | 82 | 1640 | 360 | 8.12 | 82
6.6 | 20 | 80 | 1600 | 400 | 8.04 | 80
6.66 | 22 | 78 | 1560 | 440 | 7.98 | 78
6.72 | 24 | 76 | 1520 | 480 | 7.93 | 76
6.77 | 26 | 74 | 1480 | 520 | 7.86 | 74
6.83 | 28 | 72 | 1440 | 560 | 7.82 | 72
6.88 | 30 | 70 | 1400 | 600 | 7.76 | 70
6.93 | 32 | 68 | 1360 | 640 | 7.73 | 68
6.98 | 34 | 66 | 1320 | 680 | 7.68 | 66
7.02 | 36 | 64 | 1280 | 720 | 7.63 | 64
7.07 | 38 | 62 | 1240 | 760 | 7.6 | 62
7.11 | 40 | 60 | 1200 | 800 | 7.54 | 60
7.14 | 42 | 58 | 1160 | 840 | 7.51 | 58
7.2 | 44 | 56 | 1120 | 880 | 7.46 | 56
7.24 | 46 | 54 | 1080 | 920 | 7.39 | 54
7.29 | 48 | 52 | 1040 | 960 | 7.38 | 52
7.31 | 50 | 50 | 1000 | 1000 | 7.31 | 50
7.38 | 52 | 48 | 960 | 1040 | 7.29 | 48
7.39 | 54 | 46 | 920 | 1080 | 7.24 | 46
7.46 | 56 | 44 | 880 | 1120 | 7.2 | 44
7.51 | 58 | 42 | 840 | 1160 | 7.14 | 42
7.54 | 60 | 40 | 800 | 1200 | 7.11 | 40
7.6 | 62 | 38 | 760 | 1240 | 7.07 | 38
7.63 | 64 | 36 | 720 | 1280 | 7.02 | 36
7.68 | 66 | 34 | 680 | 1320 | 6.98 | 34
7.73 | 68 | 32 | 640 | 1360 | 6.93 | 32
7.76 | 70 | 30 | 600 | 1400 | 6.88 | 30
7.82 | 72 | 28 | 560 | 1440 | 6.83 | 28
7.86 | 74 | 26 | 520 | 1480 | 6.77 | 26
7.93 | 76 | 24 | 480 | 1520 | 6.72 | 24
7.98 | 78 | 22 | 440 | 1560 | 6.66 | 22
8.04 | 80 | 20 | 400 | 1600 | 6.6 | 20
8.12 | 82 | 18 | 360 | 1640 | 6.54 | 18
8.18 | 84 | 16 | 320 | 1680 | 6.48 | 16
8.23 | 86 | 14 | 280 | 1720 | 6.41 | 14
8.29 | 88 | 12 | 240 | 1760 | 6.31 | 12
8.4 | 90 | 10 | 200 | 1800 | 6.21 | 10
8.47 | 92 | 8 | 160 | 1840 | 6.11 | 8
8.6 | 94 | 6 | 120 | 1880 | 6 | 6
8.73 | 96 | 4 | 80 | 1920 | 5.79 | 4
8.89 | 98 | 2 | 40 | 1960 | 5.49 | 2
9.12 | 100 | 0 | 0 | 2000 | 4.71 | 0
|  | Total | 51000 | 51000
Volume
Needed

## KH2PO4_Na2HPO4
pH | %Na2HPO4 | %KH2PO4 | point
4.64 | 0 | 100 | 1
5.08 | 2 | 98 | 2
5.51 | 4 | 96 | 3
5.68 | 6 | 94 | 4
5.76 | 8 | 92 | 5
5.85 | 10 | 90 | 6
5.9 | 12 | 88 | 7
6.02 | 14 | 86 | 8
6.06 | 16 | 84 | 9
6.13 | 18 | 82 | 10
6.21 | 20 | 80 | 11
6.25 | 22 | 78 | 12
6.3 | 24 | 76 | 13
6.35 | 26 | 74 | 14
6.39 | 28 | 72 | 15
6.43 | 30 | 70 | 16
6.47 | 32 | 68 | 17
6.51 | 34 | 66 | 18
6.54 | 36 | 64 | 19
6.57 | 38 | 62 | 20
6.6 | 40 | 60 | 21
6.64 | 42 | 58 | 22
6.68 | 44 | 56 | 23
6.71 | 46 | 54 | 24
6.75 | 48 | 52 | 25
6.78 | 50 | 50 | 26
6.81 | 52 | 48 | 27
6.84 | 54 | 46 | 28
6.88 | 56 | 44 | 29
6.91 | 58 | 42 | 30
6.95 | 60 | 40 | 31
6.98 | 62 | 38 | 32
7.02 | 64 | 36 | 33
7.06 | 66 | 34 | 34
7.11 | 68 | 32 | 35
7.15 | 70 | 30 | 36
7.22 | 72 | 28 | 37
7.26 | 74 | 26 | 38
7.3 | 76 | 24 | 39
7.35 | 78 | 22 | 40
7.4 | 80 | 20 | 41
7.46 | 82 | 18 | 42
7.52 | 84 | 16 | 43
7.6 | 86 | 14 | 44
7.68 | 88 | 12 | 45
7.77 | 90 | 10 | 46
7.88 | 92 | 8 | 47
8.02 | 94 | 6 | 48
8.21 | 96 | 4 | 49
8.5 | 98 | 2 | 50
9.23 | 100 | 0 | 51

## Tacsimate 4-8
pH | Tacsimate pH 8 % | Tacsimate pH 4 %
4 | 0 | 100
4 | 2 | 98
4 | 4 | 96
4.03 | 6 | 94
4.07 | 8 | 92
4.11 | 10 | 90
4.16 | 12 | 88
4.2 | 14 | 86
4.24 | 16 | 84
4.28 | 18 | 82
4.32 | 20 | 80
4.36 | 22 | 78
4.4 | 24 | 76
4.45 | 26 | 74
4.49 | 28 | 72
4.52 | 30 | 70
4.56 | 32 | 68
4.59 | 34 | 66
4.63 | 36 | 64
4.67 | 38 | 62
4.7 | 40 | 60
4.74 | 42 | 58
4.77 | 44 | 56
4.81 | 46 | 54
4.84 | 48 | 52
4.86 | 50 | 50
4.92 | 52 | 48
4.96 | 54 | 46
4.99 | 56 | 44
5.02 | 58 | 42
5.06 | 60 | 40
5.1 | 62 | 38
5.14 | 64 | 36
5.18 | 66 | 34
5.22 | 68 | 32
5.26 | 70 | 30
5.31 | 72 | 28
5.35 | 74 | 26
5.4 | 76 | 24
5.45 | 78 | 22
5.51 | 80 | 20
5.56 | 82 | 18
5.62 | 84 | 16
5.7 | 86 | 14
5.77 | 88 | 12
5.86 | 90 | 10
5.97 | 92 | 8
6.1 | 94 | 6
6.27 | 96 | 4
6.6 | 98 | 2
7.48 | 100 | 0